## GMV-96WM-B-F(U)
Product Model:GMV-96WM/B-F(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 2 | 01574100002
2 | Coping | 1 | 01264100006P
3 | Diversion Circle | 2 | 10474100002
4 | Motor for Axial Fan Assy | 2 | 15404100056
5 | Axial Flow Fan | 1 | 10434100002
6 | Fan Motor | 1 | 15704119
7 | Gas By-pass sub- assy | 1 | 030082000006
| Gas By-pass sub- assy | 1 | 04634100012
8 | Magnet Coil (electromagnetic valve) | 1 | 4304410018906
9 | Strainer | 1 | 07415200002
10 | Electromagnetic Valve | 1 | 43044100144
| Electromagnetic Valve | 1 | 43000054
11 | Upper Cover Plate (back) | 1 | 01264100005P
12 | Rear Grill | 1 | 01574100001
13 | Condenser Assy | 1 | 0112410009001
14 | Low Pressure Survey Valve Sub-assy | 1 | 07334100010
15 | Cut off Valve | 1 | 07130239
16 | Throttle Assy | 1 | 05374100017
17 | Electric Expansion Valve Sub-Assy | 1 | 43044100162
18 | Electric expand valve fitting | 1 | 4304413203
19 | Electronic Expansion Valve | 1 | 07334412
| Electronic Expansion Valve | 1 | 07334390
20 | Discharge Charge Valve | 1 | 07334100002
21 | One way Valve | 1 | 04324001
22 | Electric Expand Valve Fitting | 1 | 4304413204
23 | Electronic Expansion Valve | 1 | 07334412
24 | Bidirection Strainer | 1 | 07210044
25 | Plate-type Heat Exchanger Sub-Assy | 1 | 00904100012
26 | Dry Filter Sub-Assy | 1 | 07414100016
27 | Gas Tube Filter | 1 | 072190511
28 | Dry Filter | 1 | 07218769
29 | Gas-liquid Separator | 1 | 07424138
30 | Oil Separator | 1 | 0742418601
31 | Electrical Heater(Compressor) | 1 | 7651873209
32 | Right Side Plate | 1 | 01314713P
33 | Chassis Sub-assy | 1 | 01194100020P
34 | Base Frame Assy | 1 | 01284100122
| Base Frame Assy | 1 | 01284100002
35 | Valve | 1 | 07304100007
36 | Cut off Valve | 1 | 07334100011
37 | gas hose sub- assy | 1 | 04574100043
38 | Cut off Valve | 1 | 07334100014
39 | Compressor and Fittings | 1 | 00204100011
40 | Electric Heater(Compressor) | 1 | 7651540713
41 | Oil Equalizing Pipe Sub-Assy 1 | 1 | 04224100054
42 | Magnet Coil (electromagnetic valve) | 1 | 4304410018905
43 | Oil Equalizing Pipe Sub-Assy 2 | 1 | 04224100059
44 | Magnet Coil (electromagnetic valve) | 1 | 4304410018901
45 | Front Panel (left) | 1 | 01544100003P
46 | Front Panel (right) | 1 | 01544100005P
47 | Handle | 2 | 26904100016
48 | Top Cover (front) | 2 | 01264100004P
49 | Sensor Sub-assy | 1 | 39004100008G
50 | Pressure Sensor | 1 | 32218000009
51 | Pressure Sensor | 1 | 32218000008
52 | Discharge Tube Sub-assy | 1 | 04534100114
53 | Oil Separator | 1 | 07424100023
54 | Pressure Protect Switch | 1 | 4602000910
55 | Left Side Plate | 1 | 01314712P
56 | 4-Way Valve Sub-Assy | 1 | 04044100055
57 | Filter | 1 | 07218603
58 | Magnet Coil (electromagnetic valve) | 1 | 4304410018903
59 | 4-way Valve | 1 | 43000339
60 | One way Valve | 1 | 07335210
61 | Nozzle for Adding Freon | 2 | 06120012
62 | Electric Box Assy | 1 | 01394100447
63 | Filter Board | 1 | 30228000032
64 | Reactor | 1 | 43138000049
65 | Rectifier | 1 | 46018000014
66 | Main Board | 1 | 30228000031
67 | Main Board | 2 | 30223000047
68 | Radiator | 1 | 4901800000201
69 | Radiator | 2 | 49018000001
70 | Terminal Board | 1 | 42018000558
71 | Main Board | 1 | 30223000005
72 | AC Contactor | 2 | 44010265
73 | Terminal Board | 1 | 42018000026