## GMV-120WM-B-U(U)
Product Model:GMV-120WM/B-U(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 2 | 01574100002
2 | Top Cover | 1 | 01264100074
3 | Diversion Circle | 2 | 10474100002
4 | Axial Flow Fan | 1 | 10434100002
5 | Fan Motor | 1 | 15704124
6 | Motor for Axial Fan Assy | 2 | 15404100018
7 | Upper Cover Plate (back) | 1 | 01264100005P
8 | Pressure Protect Switch | 1 | 4602000911
| Pressure Protect Switch | 1 | 4602000912
9 | Rear Grill | 1 | 01574100001
10 | Oil Separator | 2 | 07424100023
11 | Condenser Assy | 1 | 0112410009001
12 | 4-Way Valve Assy | 1 | 04044100060
13 | Temp Sensor Sleeving | 2 | 05210001
| Temp Sensor Sleeving | 2 | 05212423
14 | Strainer | 6 | 07415200002
15 | Magnet Coil | 1 | 4304000425
16 | Electromagnetic Valve | 1 | 43044100144
| Electromagnetic Valve | 1 | 43000072
17 | Gas By-pass sub- assy | 1 | 030082000006
18 | One way Valve | 1 | 07335210
19 | 4-way Valve | 1 | 43000339
20 | Magnet Coil | 1 | 4300040030
21 | Filter | 1 | 07218603
22 | Gas-liquid Separator | 1 | 07424138
23 | Pressure Protect Switch | 1 | 4602000911
| Pressure Protect Switch | 1 | 4602000912
24 | Throttle Assy | 1 | 05374100003
25 | Dry Filter Sub-Assy | 1 | 07314100002
26 | Gas Tube Filter | 2 | 072190511
27 | Plate-type Heat Exchanger Sub-Assy | 1 | 030166000055
28 | Dry Filter | 1 | 07218769
29 | Electric expand valve fitting | 1 | 4304413203
30 | Electronic Expansion Valve | 1 | 07331139
31 | Discharge Charge Valve | 2 | 07334100002
32 | Electric Expand Valve Fitting | 1 | 4304413249
33 | One way Valve | 2 | 04324001
34 | Electronic Expansion Valve | 1 | 07334412
35 | Bidirection Strainer | 1 | 07210044
36 | Electric Expansion Valve Sub-Assy | 1 | 43044100012
37 | Right Side Plate | 1 | 01314713P
38 | Magnet Coil (electromagnetic valve) | 1 | 4304000475
39 | Oil Equalizing Pipe Sub-Assy 1 | 1 | 04224100054
40 | Electromagnetic Valve | 2 | 43044100144
41 | Suction Pipe Sub-Assy | 1 | 04574100114
42 | Cut off Valve | 1 | 07130239
43 | Low Pressure Survey Valve Sub-Assy | 1 | 030090000011
44 | Chassis Sub-assy | 1 | 01194100106P
45 | Base Frame Assy | 1 | 01284100156
46 | Oil Separator | 1 | 0742418601
47 | Electrical Heater(Compressor) | 1 | 7651873209
48 | One Way Valve | 2 | 07333700032
49 | Cut off Valve | 1 | 07334100013
50 | Liquid Valve Sub-Assy | 1 | 07304100009
51 | Valve | 1 | 07304100007
52 | Cut off Valve | 1 | 07334100011
53 | Gas Valve Sub-Assy | 1 | 07304100008
54 | Cut off Valve | 0 | none
55 | Cut off Valve | 1 | 07334100014
56 | Magnet Coil (electromagnetic valve) | 1 | 4304000477
57 | Oil balancing pipe sub-assy 2 | 1 | 030181000008
58 | Gas By-pass sub- assy | 1 | 04514100036
59 | Electromagnetic Valve | 1 | 43000054
60 | Magnet Coil (electromagnetic valve) | 1 | 4304000476
61 | Compressor and fittings | 1 | 00204116
62 | Electric Heater(Compressor) | 1 | 7651540714
63 | Transformer | 1 | 43118000023
64 | Compressor and Fittings | 1 | 00204100016
65 | Electric Heater(Compressor) | 1 | 7651540714
| Electric Heater(Compressor) | 1 | 7651540713
66 | Left Side Plate | 1 | 01314712P
67 | Handle | 2 | 26904100016
68 | Front Panel (left) | 1 | 01544100003P
69 | Top Cover (front) | 2 | 01264100004P
70 | Front Panel (right) | 1 | 01544100005P
71 | Pressure Sensor | 1 | 32218000009
72 | Pressure Sensor | 1 | 32218000008
73 | Sensor Sub-assy | 1 | 39008000028G
74 | Reactor | 1 | 43138004
75 | Filter Board | 1 | 30228122
76 | Rectifier | 1 | 46010058
77 | Main Board | 1 | 30228609
78 | Radiator | 2 | 49018000002
79 | Electric Box Assy | 1 | 01394100356
80 | Electric Box Assy | 1 | 100002003640
81 | Filter Board | 1 | 30228000015
82 | Main Board | 1 | 30228000010
83 | Rectifier | 1 | 46010604
84 | Main Board | 2 | 300027000545
85 | Main Board | 2 | 30229009
86 | Radiator | 2 | 49018000001
87 | Reactor | 1 | 4313017401
88 | Terminal Board | 1 | 42018000558
89 | Main Board | 1 | 30223000005
90 | Terminal Board | 1 | 42011106
91 | Terminal Board | 1 | 42018000026