## GMV-96WM-B-U(U)
Product Model:GMV-96WM/B-U(U)
NO. | Part Description | qty | Part Code
1 | Rear Grill | 2 | 01574100002
2 | Top Cover | 1 | 01264100074
3 | Diversion Circle | 2 | 10474100002
4 | Motor for Axial Fan Assy | 2 | 15404100018
5 | Axial Flow Fan | 1 | 10434100002
6 | Fan Motor | 1 | 15704124
7 | Gas By-pass sub- assy | 1 | 030082000006
8 | Magnet Coil | 1 | 4304000420
9 | Strainer | 5 | 07415200002
10 | Electromagnetic Valve | 1 | 43044100144
| Electromagnetic Valve | 1 | 43000072
11 | Upper Cover Plate (back) | 1 | 01264100005P
12 | Rear Grill | 1 | 01574100001
13 | Condenser Assy | 1 | 0112410009001
14 | Low Pressure Survey Valve Sub-Assy | 1 | 030090000011
15 | Cut off Valve | 1 | 07130239
16 | Throttle Assy | 1 | 05374100017
17 | Electric Expansion Valve Sub-Assy | 1 | 43044100162
18 | Electric expand valve fitting | 1 | 4304413203
19 | Electronic Expansion Valve | 1 | 07334390
20 | Discharge Charge Valve | 2 | 07334100002
21 | One way Valve | 2 | 04324001
22 | Electric Expand Valve Fitting | 1 | 4304413204
23 | Electronic Expansion Valve | 1 | 07334412
24 | Bidirection Strainer | 1 | 07210044
25 | Plate-type Heat Exchanger Sub-Assy | 1 | 00904100012
26 | Dry Filter Sub-Assy | 1 | 07414100016
27 | Gas Tube Filter | 2 | 072190511
28 | Dry Filter | 1 | 07218769
29 | Gas-liquid Separator | 1 | 07424138
30 | Oil Separator | 1 | 0742418601
31 | Electrical Heater(Compressor) | 1 | 7651873209
32 | Right Side Plate | 1 | 01314713P
33 | Chassis Sub-assy | 1 | 01194100106P
34 | Base Frame Assy | 1 | 01284100156
35 | Cut off Valve | 2 | 07334100011
36 | Liquid Valve Sub-Assy | 1 | 07304100002
37 | Valve | 1 | 07304100007
38 | Cut off Valve | 1 | 07334100014
39 | gas hose sub- assy | 1 | 04574100043
40 | Compressor and Fittings | 1 | 00204100016
41 | Electric Heater(Compressor) | 1 | 7651540713
42 | Oil Equalizing Pipe Sub-Assy 1 | 1 | 04224100054
43 | Magnet Coil | 1 | 4304000440
44 | Oil balancing pipe sub-assy 2 | 1 | 030181000008
45 | Electromagnetic Valve | 2 | 43044100144
46 | Magnet Coil | 1 | 4304000423
47 | Transformer | 1 | 43118000023
48 | Front Panel (left) | 1 | 01544100003P
49 | Front Panel (right) | 1 | 01544100005P
50 | Handle | 2 | 26904100016
51 | Top Cover (front) | 2 | 01264100004P
52 | Sensor Sub-assy | 1 | 39004100008G
53 | Pressure Sensor | 1 | 32218000009
54 | Pressure Sensor | 1 | 32218000008
55 | Discharge Tube Sub-assy | 1 | 04534100094
56 | Oil Separator | 1 | 07424100023
57 | Pressure Protect Switch | 1 | 4602000910
58 | Left Side Plate | 1 | 01314712P
59 | 4-Way Valve Assy | 1 | 04044100060
60 | Filter | 1 | 07218603
61 | Magnet Coil | 1 | 4300040030
62 | 4-way Valve | 1 | 43000339
63 | One way Valve | 1 | 07335210
64 | Temp Sensor Sleeving | 2 | 05210001
| Temp Sensor Sleeving | 2 | 05212423
65 | Electric Box Assy | 1 | 100002003641
66 | Filter Board | 1 | 30228000015
67 | Main Board | 1 | 300027000545
68 | Reactor | 1 | 4313017401
69 | Rectifier | 1 | 46010604
70 | Main Board | 1 | 30228000010
71 | Main Board | 2 | 30229009
72 | Radiator | 1 | 49018000002
73 | Radiator | 2 | 49018000001
74 | Terminal Board | 1 | 42018000026
75 | Main Board | 1 | 30223000005
76 | Terminal Board | 1 | 42018000558
77 | Terminal Board | 1 | 42011106